## Sheet1
Rank/Name: ___________________ Det #: ______ I/A:___________________
Evaluator: ___________________ Date: ____________
A. Entry/Exit "Hardline" Door Control Panel | 1. Place the three position toggle switch in the normal operating position and demonstrate allowing entrance. | PASS | FAIL | {question:"1. Place the three position toggle switch in the normal operating position and demonstrate allowing entrance.", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"A. Entry/Exit "Hardline" Door Control Panel"}
A. Entry/Exit "Hardline" Door Control Panel | 2. Magnetically lock every door on the hardline door control panel. | PASS | FAIL | {question:"2. Magnetically lock every door on the hardline door control panel.", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"A. Entry/Exit "Hardline" Door Control Panel"}
A. Entry/Exit "Hardline" Door Control Panel | 3. Demonstrate the individual unlock in the master lock-out mode for any door. | PASS | FAIL | {question:"3. Demonstrate the individual unlock in the master lock-out mode for any door.", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"A. Entry/Exit "Hardline" Door Control Panel"}
B. Fire Exit Door Control Panel | 1. What three options does the MSG on Post One have when the alarm is activated? | PASS | FAIL | {question:"1. What three options does the MSG on Post One have when the alarm is activated?", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"B. Fire Exit Door Control Panel"}
B. Fire Exit Door Control Panel | 2. Demonstrate how to cancel the timing sequence. | PASS | FAIL | {question:"2. Demonstrate how to cancel the timing sequence.", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"B. Fire Exit Door Control Panel"}
B. Fire Exit Door Control Panel | 3. Demonstrate how to release the door. | PASS | FAIL | {question:"3. Demonstrate how to release the door.", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"B. Fire Exit Door Control Panel"}
C. Camera Monitor | 1. Utilize the CU-650 controller to manually adjust the iris of the camera. | PASS | FAIL | {question:"1. Utilize the CU-650 controller to manually adjust the iris of the camera.", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"C. Camera Monitor"}
C. Camera Monitor | 2. Utilize the CU-650 controller to zoom in on an object. | PASS | FAIL | {question:"2. Utilize the CU-650 controller to zoom in on an object.", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"C. Camera Monitor"}
C. Camera Monitor | 3. Utilize the CU-650 controller to manually cycle through the available cameras. | PASS | FAIL | {question:"3. Utilize the CU-650 controller to manually cycle through the available cameras.", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"C. Camera Monitor"}
C. Camera Monitor | 4. Adjust the contrast +5 on any monitor. | PASS | FAIL | {question:"4. Adjust the contrast +5 on any monitor.", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"C. Camera Monitor"}
D. Cinch Protector System | 1. Demonstrate how to access a partition/space from Post One. | PASS | FAIL | {question:"1. Demonstrate how to access a partition/space from Post One.", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"D. Cinch Protector System"}
D. Cinch Protector System | 2. Demonstrate how to secure a partition/space from the mounted keypad and associated procedures in Post One. | PASS | FAIL | {question:"2. Demonstrate how to secure a partition/space from the mounted keypad and associated procedures in Post One.", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"D. Cinch Protector System"}
E. Advent Alarm System | 1. Demonstrate how to secure a partition/space from the mounted keypad. | PASS | FAIL | {question:"1. Demonstrate how to secure a partition/space from the mounted keypad.", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"E. Advent Alarm System"}
E. Advent Alarm System | 2. Demonstrate how to acknowledge the system in post 1. | PASS | FAIL | {question:"2. Demonstrate how to acknowledge the system in post 1.", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"E. Advent Alarm System"}
F. High Security Alarm System | 1. Demonstrate how to access or secure a partition/space from the mounted keypad and associated procedures in Post One. | PASS | FAIL | {question:"1. Demonstrate how to access or secure a partition/space from the mounted keypad and associated procedures in Post One.", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"F. High Security Alarm System"}
G. Wells Fargo Alarm System (CU-40) | 1. Demonstrate how to access or secure a partition/space from the mounted keypad and associated procedures in Post One. | PASS | FAIL | {question:"1. Demonstrate how to access or secure a partition/space from the mounted keypad and associated procedures in Post One.", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"G. Wells Fargo Alarm System (CU-40)"}
H. Selectone Command Unit | 1. Demonstrate how to sound and secure the duck and cover alarm. | PASS | FAIL | {question:"1. Demonstrate how to sound and secure the duck and cover alarm.", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"H. Selectone Command Unit"}
H. Selectone Command Unit | 2. Demonstrate how to make an announcement in Zone 5 only (have MSG read Internal Defense announcement). | PASS | FAIL | {question:"2. Demonstrate how to make an announcement in Zone 5 only (have MSG read Internal Defense announcement).", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"H. Selectone Command Unit"}
I. Inovonics Imminent Danger Notification | 1. Demonstrate how to recall the pendant name that triggered the alarm. | PASS | FAIL | {question:"1. Demonstrate how to recall the pendant name that triggered the alarm.", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"I. Inovonics Imminent Danger Notification"}
I. Inovonics Imminent Danger Notification | 2. Demonstrate how to reset the system once activated. | PASS | FAIL | {question:"2. Demonstrate how to reset the system once activated.", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"I. Inovonics Imminent Danger Notification"}
J. AES 6300 Annunciator Panel | 1. Demonstrate how to purify the system. | PASS | FAIL | {question:"1. Demonstrate how to purify the system.", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"J. AES 6300 Annunciator Panel"}
J. AES 6300 Annunciator Panel | 2. Demonstrate how to test the red lights and audible alarm. | PASS | FAIL | {question:"2. Demonstrate how to test the red lights and audible alarm.", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"J. AES 6300 Annunciator Panel"}
L. TG Guard System | 1. Explain the steps an MSG must take prior to firing the system. | PASS | FAIL | {"question":"1. Explain the steps an MSG must take prior to firing the system.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"L. TG Guard System"}
L. TG Guard System | 2. Demonstrate firing the system. | PASS | FAIL | {"question":"2. Demonstrate firing the system.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"L. TG Guard System"}
M. VSOC System | 1. Demonstrate how to review video from 1700-1705 yesterday. | PASS | FAIL | {"question":"1. Demonstrate how to review video from 1700-1705 yesterday.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"M. VSOC System"}
M. VSOC System | 2. Demonstrate how to acknowledge an alarm. | PASS | FAIL | {"question":"2. Demonstrate how to acknowledge an alarm.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"M. VSOC System"}
N. Locks (MSG gets 3 attempts per lock) | 1. Demonstrate how to secure/unsecure a S&G 8400 or 8500 lock. | PASS | FAIL | {"question":"1. Demonstrate how to secure/unsecure a S&G 8400 or 8500 lock.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"N. Locks (MSG gets 3 attempts per lock)"}
N. Locks (MSG gets 3 attempts per lock) | 2. Demonstrate how to secure/unsecure a X-09 lock. | PASS | FAIL | {"question":"2. Demonstrate how to secure/unsecure a X-09 lock.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"N. Locks (MSG gets 3 attempts per lock)"}

## Sheet2
A. Entry/Exit "Hardline" Door Control Panel | 1. Place the three position toggle switch in the normal operating position and demonstrate allowing entrance. | PASS | FAIL | {"question":"1. Place the three position toggle switch in the normal operating position and demonstrate allowing entrance.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"A. Entry/Exit \"Hardline\" Door Control Panel"},
A. Entry/Exit "Hardline" Door Control Panel | 2. Magnetically lock every door on the hardline door control panel. | PASS | FAIL | {"question":"2. Magnetically lock every door on the hardline door control panel.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"A. Entry/Exit \"Hardline\" Door Control Panel"},
A. Entry/Exit "Hardline" Door Control Panel | 3. Demonstrate the individual unlock in the master lock-out mode for any door. | PASS | FAIL | {"question":"3. Demonstrate the individual unlock in the master lock-out mode for any door.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"A. Entry/Exit \"Hardline\" Door Control Panel"},
B. Fire Exit Door Control Panel | 1. What three options does the MSG on Post One have when the alarm is activated? | PASS | FAIL | {"question":"1. What three options does the MSG on Post One have when the alarm is activated?", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"B. Fire Exit Door Control Panel"},
B. Fire Exit Door Control Panel | 2. Demonstrate how to cancel the timing sequence. | PASS | FAIL | {"question":"2. Demonstrate how to cancel the timing sequence.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"B. Fire Exit Door Control Panel"},
B. Fire Exit Door Control Panel | 3. Demonstrate how to release the door. | PASS | FAIL | {"question":"3. Demonstrate how to release the door.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"B. Fire Exit Door Control Panel"},
C. Camera Monitor | 1. Utilize the CU-650 controller to manually adjust the iris of the camera. | PASS | FAIL | {"question":"1. Utilize the CU-650 controller to manually adjust the iris of the camera.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"C. Camera Monitor"},
C. Camera Monitor | 2. Utilize the CU-650 controller to zoom in on an object. | PASS | FAIL | {"question":"2. Utilize the CU-650 controller to zoom in on an object.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"C. Camera Monitor"},
C. Camera Monitor | 3. Utilize the CU-650 controller to manually cycle through the available cameras. | PASS | FAIL | {"question":"3. Utilize the CU-650 controller to manually cycle through the available cameras.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"C. Camera Monitor"},
C. Camera Monitor | 4. Adjust the contrast +5 on any monitor. | PASS | FAIL | {"question":"4. Adjust the contrast +5 on any monitor.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"C. Camera Monitor"},
D. Cinch Protector System | 1. Demonstrate how to access a partition/space from Post One. | PASS | FAIL | {"question":"1. Demonstrate how to access a partition/space from Post One.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"D. Cinch Protector System"},
D. Cinch Protector System | 2. Demonstrate how to secure a partition/space from the mounted keypad and associated procedures in Post One. | PASS | FAIL | {"question":"2. Demonstrate how to secure a partition/space from the mounted keypad and associated procedures in Post One.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"D. Cinch Protector System"},
E. Advent Alarm System | 1. Demonstrate how to secure a partition/space from the mounted keypad. | PASS | FAIL | {"question":"1. Demonstrate how to secure a partition/space from the mounted keypad.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"E. Advent Alarm System"},
E. Advent Alarm System | 2. Demonstrate how to acknowledge the system in post 1. | PASS | FAIL | {"question":"2. Demonstrate how to acknowledge the system in post 1.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"E. Advent Alarm System"},
F. High Security Alarm System | 1. Demonstrate how to access or secure a partition/space from the mounted keypad and associated procedures in Post One. | PASS | FAIL | {"question":"1. Demonstrate how to access or secure a partition/space from the mounted keypad and associated procedures in Post One.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"F. High Security Alarm System"},
G. Wells Fargo Alarm System (CU-40) | 1. Demonstrate how to access or secure a partition/space from the mounted keypad and associated procedures in Post One. | PASS | FAIL | {"question":"1. Demonstrate how to access or secure a partition/space from the mounted keypad and associated procedures in Post One.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"G. Wells Fargo Alarm System (CU-40)"},
H. Selectone Command Unit | 1. Demonstrate how to sound and secure the duck and cover alarm. | PASS | FAIL | {"question":"1. Demonstrate how to sound and secure the duck and cover alarm.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"H. Selectone Command Unit"},
H. Selectone Command Unit | 2. Demonstrate how to make an announcement in Zone 5 only (have MSG read Internal Defense announcement). | PASS | FAIL | {"question":"2. Demonstrate how to make an announcement in Zone 5 only (have MSG read Internal Defense announcement).", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"H. Selectone Command Unit"},
I. Inovonics Imminent Danger Notification | 1. Demonstrate how to recall the pendant name that triggered the alarm. | PASS | FAIL | {"question":"1. Demonstrate how to recall the pendant name that triggered the alarm.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"I. Inovonics Imminent Danger Notification"},
I. Inovonics Imminent Danger Notification | 2. Demonstrate how to reset the system once activated. | PASS | FAIL | {"question":"2. Demonstrate how to reset the system once activated.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"I. Inovonics Imminent Danger Notification"},
J. AES 6300 Annunciator Panel | 1. Demonstrate how to purify the system. | PASS | FAIL | {"question":"1. Demonstrate how to purify the system.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"J. AES 6300 Annunciator Panel"},
J. AES 6300 Annunciator Panel | 2. Demonstrate how to test the red lights and audible alarm. | PASS | FAIL | {"question":"2. Demonstrate how to test the red lights and audible alarm.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"J. AES 6300 Annunciator Panel"},
L. TG Guard System | 1. Explain the steps an MSG must take prior to firing the system. | PASS | FAIL | {"question":"1. Explain the steps an MSG must take prior to firing the system.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"L. TG Guard System"},
L. TG Guard System | 2. Demonstrate firing the system. | PASS | FAIL | {"question":"2. Demonstrate firing the system.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"L. TG Guard System"},
M. VSOC System | 1. Demonstrate how to review video from 1700-1705 yesterday. | PASS | FAIL | {"question":"1. Demonstrate how to review video from 1700-1705 yesterday.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"M. VSOC System"},
M. VSOC System | 2. Demonstrate how to acknowledge an alarm. | PASS | FAIL | {"question":"2. Demonstrate how to acknowledge an alarm.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"M. VSOC System"},
N. Locks (MSG gets 3 attempts per lock) | 1. Demonstrate how to secure/unsecure a S&G 8400 or 8500 lock. | PASS | FAIL | {"question":"1. Demonstrate how to secure/unsecure a S&G 8400 or 8500 lock.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"N. Locks (MSG gets 3 attempts per lock)"},
N. Locks (MSG gets 3 attempts per lock) | 2. Demonstrate how to secure/unsecure a X-09 lock. | PASS | FAIL | {"question":"2. Demonstrate how to secure/unsecure a X-09 lock.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"N. Locks (MSG gets 3 attempts per lock)"},