## Sheet1
Rank/Name: ___________________ Det #: ______ I/A:___________________
Evaluator: ___________________ Date: ____________
A. Entry/Exit "Hardline" Door Control Panel
1. Place the three position toggle switch in the normal operating position and demonstrate allowing entrance. | PASS | FAIL
2. Magnetically lock every door on the hardline door control panel. | PASS | FAIL
3. Demonstrate the individual unlock in the master lock-out mode for any door. | PASS | FAIL
B. Fire Exit Door Control Panel
1. What three options does the MSG on Post One have when the alarm is activated? | PASS | FAIL
2. Demonstrate how to cancel the timing sequence. | PASS | FAIL
3. Demonstrate how to release the door. | PASS | FAIL
C. Camera Monitor
1. Utilize the CU-650 controller to manually adjust the iris of the camera. | PASS | FAIL
2. Utilize the CU-650 controller to zoom in on an object. | PASS | FAIL
3. Utilize the CU-650 controller to manually cycle through the available cameras. | PASS | FAIL
4. Adjust the contrast +5 on any monitor. | PASS | FAIL
D. Cinch Protector System
1. Demonstrate how to access a partition/space from Post One. | PASS | FAIL
2. Demonstrate how to secure a partition/space from the mounted keypad and associated procedures in Post One. | PASS | FAIL
E. Advent Alarm System
1. Demonstrate how to secure a partition/space from the mounted keypad. | PASS | FAIL
2. Demonstrate how to acknowledge the system in post 1. | PASS | FAIL
F. High Security Alarm System
1. Demonstrate how to access or secure a partition/space from the mounted keypad and associated procedures in Post One. | PASS | FAIL
G. Wells Fargo Alarm System (CU-40)
1. Demonstrate how to access or secure a partition/space from the mounted keypad and associated procedures in Post One. | PASS | FAIL
H. Selectone Command Unit
1. Demonstrate how to sound and secure the duck and cover alarm. | PASS | FAIL
2. Demonstrate how to make an announcement in Zone 5 only (have MSG read Internal Defense announcement). | PASS | FAIL
I. Inovonics Imminent Danger Notification
1. Demonstrate how to recall the pendant name that triggered the alarm. | PASS | FAIL
2. Demonstrate how to reset the system once activated. | PASS | FAIL
J. AES 6300 Annunciator Panel
1. Demonstrate how to purify the system. | PASS | FAIL
2. Demonstrate how to test the red lights and audible alarm. | PASS | FAIL
L. TG Guard System
1. Explain the steps an MSG must take prior to firing the system. | PASS | FAIL
2. Demonstrate firing the system. | PASS | FAIL
M. VSOC System
1. Demonstrate how to review video from 1700-1705 yesterday. | PASS | FAIL
2. Demonstrate how to acknowledge an alarm. | PASS | FAIL
N. Locks (MSG gets 3 attempts per lock)
1. Demonstrate how to secure/unsecure a S&G 8400 or 8500 lock. | PASS | FAIL
2. Demonstrate how to secure/unsecure a X-09 lock. | PASS | FAIL