## Sheet1
Rank/Name: ___________________ Det #: ______ I/A:___________________
Evaluator: ___________________ Date: ____________
A. Entry/Exit "Hardline" Door Control Panel | 1. Place the three position toggle switch in the normal operating position and demonstrate allowing entrance. | PASS | FAIL | {question:"1. Place the three position toggle switch in the normal operating position and demonstrate allowing entrance.", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"A. Entry/Exit "Hardline" Door Control Panel"}
A. Entry/Exit "Hardline" Door Control Panel | 2. Magnetically lock every door on the hardline door control panel. | PASS | FAIL | {question:"2. Magnetically lock every door on the hardline door control panel.", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"A. Entry/Exit "Hardline" Door Control Panel"}
A. Entry/Exit "Hardline" Door Control Panel | 3. Demonstrate the individual unlock in the master lock-out mode for any door. | PASS | FAIL | {question:"3. Demonstrate the individual unlock in the master lock-out mode for any door.", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"A. Entry/Exit "Hardline" Door Control Panel"}
B. Fire Exit Door Control Panel | 1. What three options does the MSG on Post One have when the alarm is activated? | PASS | FAIL | {question:"1. What three options does the MSG on Post One have when the alarm is activated?", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"B. Fire Exit Door Control Panel"}
B. Fire Exit Door Control Panel | 2. Demonstrate how to cancel the timing sequence. | PASS | FAIL | {question:"2. Demonstrate how to cancel the timing sequence.", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"B. Fire Exit Door Control Panel"}
B. Fire Exit Door Control Panel | 3. Demonstrate how to release the door. | PASS | FAIL | {question:"3. Demonstrate how to release the door.", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"B. Fire Exit Door Control Panel"}
C. Camera Monitor | 1. Utilize the CU-650 controller to manually adjust the iris of the camera. | PASS | FAIL | {question:"1. Utilize the CU-650 controller to manually adjust the iris of the camera.", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"C. Camera Monitor"}
C. Camera Monitor | 2. Utilize the CU-650 controller to zoom in on an object. | PASS | FAIL | {question:"2. Utilize the CU-650 controller to zoom in on an object.", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"C. Camera Monitor"}
C. Camera Monitor | 3. Utilize the CU-650 controller to manually cycle through the available cameras. | PASS | FAIL | {question:"3. Utilize the CU-650 controller to manually cycle through the available cameras.", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"C. Camera Monitor"}
C. Camera Monitor | 4. Adjust the contrast +5 on any monitor. | PASS | FAIL | {question:"4. Adjust the contrast +5 on any monitor.", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"C. Camera Monitor"}
D. Cinch Protector System | 1. Demonstrate how to access a partition/space from Post One. | PASS | FAIL | {question:"1. Demonstrate how to access a partition/space from Post One.", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"D. Cinch Protector System"}
D. Cinch Protector System | 2. Demonstrate how to secure a partition/space from the mounted keypad and associated procedures in Post One. | PASS | FAIL | {question:"2. Demonstrate how to secure a partition/space from the mounted keypad and associated procedures in Post One.", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"D. Cinch Protector System"}
E. Advent Alarm System | 1. Demonstrate how to secure a partition/space from the mounted keypad. | PASS | FAIL | {question:"1. Demonstrate how to secure a partition/space from the mounted keypad.", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"E. Advent Alarm System"}
E. Advent Alarm System | 2. Demonstrate how to acknowledge the system in post 1. | PASS | FAIL | {question:"2. Demonstrate how to acknowledge the system in post 1.", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"E. Advent Alarm System"}
F. High Security Alarm System | 1. Demonstrate how to access or secure a partition/space from the mounted keypad and associated procedures in Post One. | PASS | FAIL | {question:"1. Demonstrate how to access or secure a partition/space from the mounted keypad and associated procedures in Post One.", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"F. High Security Alarm System"}
G. Wells Fargo Alarm System (CU-40) | 1. Demonstrate how to access or secure a partition/space from the mounted keypad and associated procedures in Post One. | PASS | FAIL | {question:"1. Demonstrate how to access or secure a partition/space from the mounted keypad and associated procedures in Post One.", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"G. Wells Fargo Alarm System (CU-40)"}
H. Selectone Command Unit | 1. Demonstrate how to sound and secure the duck and cover alarm. | PASS | FAIL | {question:"1. Demonstrate how to sound and secure the duck and cover alarm.", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"H. Selectone Command Unit"}
H. Selectone Command Unit | 2. Demonstrate how to make an announcement in Zone 5 only (have MSG read Internal Defense announcement). | PASS | FAIL | {question:"2. Demonstrate how to make an announcement in Zone 5 only (have MSG read Internal Defense announcement).", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"H. Selectone Command Unit"}
I. Inovonics Imminent Danger Notification | 1. Demonstrate how to recall the pendant name that triggered the alarm. | PASS | FAIL | {question:"1. Demonstrate how to recall the pendant name that triggered the alarm.", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"I. Inovonics Imminent Danger Notification"}
I. Inovonics Imminent Danger Notification | 2. Demonstrate how to reset the system once activated. | PASS | FAIL | {question:"2. Demonstrate how to reset the system once activated.", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"I. Inovonics Imminent Danger Notification"}
J. AES 6300 Annunciator Panel | 1. Demonstrate how to purify the system. | PASS | FAIL | {question:"1. Demonstrate how to purify the system.", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"J. AES 6300 Annunciator Panel"}
J. AES 6300 Annunciator Panel | 2. Demonstrate how to test the red lights and audible alarm. | PASS | FAIL | {question:"2. Demonstrate how to test the red lights and audible alarm.", type:"MC",options:[{label:"Pass"},{label:"Fail"}], category:"J. AES 6300 Annunciator Panel"}
L. TG Guard System | 1. Explain the steps an MSG must take prior to firing the system. | PASS | FAIL | {"question":"1. Explain the steps an MSG must take prior to firing the system.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"L. TG Guard System"}
L. TG Guard System | 2. Demonstrate firing the system. | PASS | FAIL | {"question":"2. Demonstrate firing the system.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"L. TG Guard System"}
M. VSOC System | 1. Demonstrate how to review video from 1700-1705 yesterday. | PASS | FAIL | {"question":"1. Demonstrate how to review video from 1700-1705 yesterday.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"M. VSOC System"}
M. VSOC System | 2. Demonstrate how to acknowledge an alarm. | PASS | FAIL | {"question":"2. Demonstrate how to acknowledge an alarm.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"M. VSOC System"}
N. Locks (MSG gets 3 attempts per lock) | 1. Demonstrate how to secure/unsecure a S&G 8400 or 8500 lock. | PASS | FAIL | {"question":"1. Demonstrate how to secure/unsecure a S&G 8400 or 8500 lock.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"N. Locks (MSG gets 3 attempts per lock)"}
N. Locks (MSG gets 3 attempts per lock) | 2. Demonstrate how to secure/unsecure a X-09 lock. | PASS | FAIL | {"question":"2. Demonstrate how to secure/unsecure a X-09 lock.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"N. Locks (MSG gets 3 attempts per lock)"}

## Questions
A. Entry/Exit "Hardline" Door Control Panel | 1. Place the three position toggle switch in the normal operating position and demonstrate allowing entrance. | PASS | FAIL | {"question":"1. Place the three position toggle switch in the normal operating position and demonstrate allowing entrance.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"A. Entry/Exit \"Hardline\" Door Control Panel"},
A. Entry/Exit "Hardline" Door Control Panel | 2. Magnetically lock every door on the hardline door control panel. | PASS | FAIL | {"question":"2. Magnetically lock every door on the hardline door control panel.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"A. Entry/Exit \"Hardline\" Door Control Panel"},
A. Entry/Exit "Hardline" Door Control Panel | 3. Demonstrate the individual unlock in the master lock-out mode for any door. | PASS | FAIL | {"question":"3. Demonstrate the individual unlock in the master lock-out mode for any door.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"A. Entry/Exit \"Hardline\" Door Control Panel"},
B. Fire Exit Door Control Panel | 1. What three options does the MSG on Post One have when the alarm is activated? | PASS | FAIL | {"question":"1. What three options does the MSG on Post One have when the alarm is activated?", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"B. Fire Exit Door Control Panel"},
B. Fire Exit Door Control Panel | 2. Demonstrate how to cancel the timing sequence. | PASS | FAIL | {"question":"2. Demonstrate how to cancel the timing sequence.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"B. Fire Exit Door Control Panel"},
B. Fire Exit Door Control Panel | 3. Demonstrate how to release the door. | PASS | FAIL | {"question":"3. Demonstrate how to release the door.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"B. Fire Exit Door Control Panel"},
C. Camera Monitor | 1. Utilize the CU-650 controller to manually adjust the iris of the camera. | PASS | FAIL | {"question":"1. Utilize the CU-650 controller to manually adjust the iris of the camera.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"C. Camera Monitor"},
C. Camera Monitor | 2. Utilize the CU-650 controller to zoom in on an object. | PASS | FAIL | {"question":"2. Utilize the CU-650 controller to zoom in on an object.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"C. Camera Monitor"},
C. Camera Monitor | 3. Utilize the CU-650 controller to manually cycle through the available cameras. | PASS | FAIL | {"question":"3. Utilize the CU-650 controller to manually cycle through the available cameras.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"C. Camera Monitor"},
C. Camera Monitor | 4. Adjust the contrast +5 on any monitor. | PASS | FAIL | {"question":"4. Adjust the contrast +5 on any monitor.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"C. Camera Monitor"},
D. Cinch Protector System | 1. Demonstrate how to access a partition/space from Post One. | PASS | FAIL | {"question":"1. Demonstrate how to access a partition/space from Post One.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"D. Cinch Protector System"},
D. Cinch Protector System | 2. Demonstrate how to secure a partition/space from the mounted keypad and associated procedures in Post One. | PASS | FAIL | {"question":"2. Demonstrate how to secure a partition/space from the mounted keypad and associated procedures in Post One.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"D. Cinch Protector System"},
E. Advent Alarm System | 1. Demonstrate how to secure a partition/space from the mounted keypad. | PASS | FAIL | {"question":"1. Demonstrate how to secure a partition/space from the mounted keypad.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"E. Advent Alarm System"},
E. Advent Alarm System | 2. Demonstrate how to acknowledge the system in post 1. | PASS | FAIL | {"question":"2. Demonstrate how to acknowledge the system in post 1.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"E. Advent Alarm System"},
F. High Security Alarm System | 1. Demonstrate how to access or secure a partition/space from the mounted keypad and associated procedures in Post One. | PASS | FAIL | {"question":"1. Demonstrate how to access or secure a partition/space from the mounted keypad and associated procedures in Post One.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"F. High Security Alarm System"},
G. Wells Fargo Alarm System (CU-40) | 1. Demonstrate how to access or secure a partition/space from the mounted keypad and associated procedures in Post One. | PASS | FAIL | {"question":"1. Demonstrate how to access or secure a partition/space from the mounted keypad and associated procedures in Post One.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"G. Wells Fargo Alarm System (CU-40)"},
H. Selectone Command Unit | 1. Demonstrate how to sound and secure the duck and cover alarm. | PASS | FAIL | {"question":"1. Demonstrate how to sound and secure the duck and cover alarm.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"H. Selectone Command Unit"},
H. Selectone Command Unit | 2. Demonstrate how to make an announcement in Zone 5 only (have MSG read Internal Defense announcement). | PASS | FAIL | {"question":"2. Demonstrate how to make an announcement in Zone 5 only (have MSG read Internal Defense announcement).", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"H. Selectone Command Unit"},
I. Inovonics Imminent Danger Notification | 1. Demonstrate how to recall the pendant name that triggered the alarm. | PASS | FAIL | {"question":"1. Demonstrate how to recall the pendant name that triggered the alarm.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"I. Inovonics Imminent Danger Notification"},
I. Inovonics Imminent Danger Notification | 2. Demonstrate how to reset the system once activated. | PASS | FAIL | {"question":"2. Demonstrate how to reset the system once activated.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"I. Inovonics Imminent Danger Notification"},
J. AES 6300 Annunciator Panel | 1. Demonstrate how to purify the system. | PASS | FAIL | {"question":"1. Demonstrate how to purify the system.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"J. AES 6300 Annunciator Panel"},
J. AES 6300 Annunciator Panel | 2. Demonstrate how to test the red lights and audible alarm. | PASS | FAIL | {"question":"2. Demonstrate how to test the red lights and audible alarm.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"J. AES 6300 Annunciator Panel"},
L. TG Guard System | 1. Explain the steps an MSG must take prior to firing the system. | PASS | FAIL | {"question":"1. Explain the steps an MSG must take prior to firing the system.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"L. TG Guard System"},
L. TG Guard System | 2. Demonstrate firing the system. | PASS | FAIL | {"question":"2. Demonstrate firing the system.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"L. TG Guard System"},
M. VSOC System | 1. Demonstrate how to review video from 1700-1705 yesterday. | PASS | FAIL | {"question":"1. Demonstrate how to review video from 1700-1705 yesterday.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"M. VSOC System"},
M. VSOC System | 2. Demonstrate how to acknowledge an alarm. | PASS | FAIL | {"question":"2. Demonstrate how to acknowledge an alarm.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"M. VSOC System"},
N. Locks (MSG gets 3 attempts per lock) | 1. Demonstrate how to secure/unsecure a S&G 8400 or 8500 lock. | PASS | FAIL | {"question":"1. Demonstrate how to secure/unsecure a S&G 8400 or 8500 lock.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"N. Locks (MSG gets 3 attempts per lock)"},
N. Locks (MSG gets 3 attempts per lock) | 2. Demonstrate how to secure/unsecure a X-09 lock. | PASS | FAIL | {"question":"2. Demonstrate how to secure/unsecure a X-09 lock.", "type":"MC", "options":[{"label":"Pass"},{"label":"Fail"}], "category":"N. Locks (MSG gets 3 attempts per lock)"},

## Students
Marybelle Muldrew
Bob Kaczorowski
Fae Magness
Martina Aguas
Merilyn Mcneilly
Kyla Marie
Jeanette Weidner
Anya Yearwood
Ty Hearst
Ernesto Dudash
Roderick Weddell
Marty Kitchell
Angelo Wentzell
Carey Oday
Nikia Cave
Robbie Brisker
Velda Brighton
Malik Trimble
Solange Ihle
Kerry Teel
Nedra Rising
Darron Jasso
Anthony Orozco
Lyle Briant
Etha Aquilar
Deirdre Huling
Sid Doggett
Maurita Prochnow
Jillian Noakes
Karissa Minear